## Gcg valid.10-18-18
Glucagon Assay (Ansh revised 2018 kit): Validation
Merck study samples/pools: M-09, M-19, M-34: vials 32, 34, 36.
[17 empty] | Ansh Assay (50 ul) |  |  |  |  | Mercodia Assay (25 ul) |  | (only assay available for human) |  |  |  |  | Glucagon Asasys: Ansh vs Mercodia
Dilution & Linearity |  |  |  |  | Cross-Reactivity: |  |  | Precision: Intra-assay | [13 empty] | This 25 ul assay and 10 ul asasy are for mouse and rat) | [6 empty] | Oxm, Glicentin cross-reactants study
[15 empty] | QC-1 | 40.93 pg/ml |  | Exptd: 31 +/- 8 pg/ml) | [10 empty] | 2018-10-18 |  |  |  | Ansh Assay: 25 ul, if
Plasama |  |  | Glucagon | % Recovery | Cross-Reactant | Concentration | % Cross-Reactivity | Sample |  | Glucagon (pg/ml) | Mean | St Dev | SEM | CV | QC-2 | 140.88 pg/ml |  | Exptd: 148+/- 30 pg/ml) |  |  |  | QCs: Not provided in the kit | [10 empty] | extrapolated
pool |  |  | pg/ml | [27 empty] | Ansh: 50 ul Assay | Mercodia: 25 ul Assay | from 50 ul assay
M-09 | 36' | Direct | 131.867 |  | Normal run | 40 ul smpl | 148.72 pg/ml | M-09 | 36' | 160.638 | [19 empty] | Cross-reactant | Glucagon | Glucagon | Glucagon
|  | 1/2dil. | 68.605 | 104% | Normal run | 40 ul smpl | 151.80 pg/ml |  |  | 151.102 | [19 empty] | ng/ml | pg/ml | pg/ml | pg/ml
|  | 1/4 dil. | 39.552 | 119% | GRPP | 5 ng/ml | Non-detectable |  |  | 149.72 | [19 empty] | OXM
M-19 | 34' | Direct | 186.259 |  | A5: OXM (1-17) / (Glucagon 1-17) | 5 ng/ml | Non-detectable |  |  | 137.658 | [18 empty] | Normal assay | 0 | 111.481 | 85.325 | 55.7405
|  | 1/2dil. | 68.069 | 93% | A7: OXM (19-29) / (Glucagon 19-29) | 5 ng/ml | Non-detectable |  |  | 137.899 | 147.4034 | 9.7405 | 4.3484 | 6.608 | [15 empty] | 0.097 | 104.11 | 84.806 | 52.055
|  | 1/4 dil. | 46.664 | 100% | A9: OXM (23-37) | 5 ng/ml | Non-detectable | M-19 | 34' | 201.987 | [19 empty] | 0.195 | 102.769 | 86.796 | 51.3845
M-19 | 36' | Direct | 134.935 |  | A1: OXM (1-37), Ansh stk sol. | 5 ng/ml | Non-detectable |  |  | 206.592 | [19 empty] | 0.39 | 105.92 | 86.451 | 52.96
|  | 1/2dil. | 72.523 | 107% | Glucagon (19-29) Bachem | 5 ng/ml | Non-detectable |  |  | 222.316 | [19 empty] | 0.781 | 112.026 | 86.355 | 56.013
|  | 1/4 dil. | 38.385 | 113% | Glicentin | 5 ng/ml | Non-detectable |  |  | 219.952 | [19 empty] | 1.562 | 111.911 | 85.984 | 55.9555
M-34 | 32' | Direct | 116.776 |  | B3: GLP-1 (9-36-NH2) | 5 ng/ml | Non-detectable |  |  | 209.894 | 212.1482 | 8.7104 | 3.8886 | 4.1058 | [15 empty] | 3.125 | 107.71 | 85.456 | 53.855
|  | 1/2dil. | 81.768 | 120% | GLP-1 (1-36) | 5 ng/ml | Non-detectable | M-19 | 36' | 156.825 | [19 empty] | 6.25 | 111.584 | 81.853 | 55.792
|  | 1/4 dil. | 48.681 | 115% | GLP-2 | 5 ng/ml | Non-detectable |  |  | 158.808 | [19 empty] | 12.5 | 114.241 | 83.717 | 57.1205
[5 empty] | MPGF-1 | 5 ng/ml | Non-detectable |  |  | 158.152 | [19 empty] | 25 | 114.128 | 87.631 | 57.064
[5 empty] | Insulin | 5 ng/ml | Non-detectable |  |  | 167.301 | [19 empty] | 50 | 112.483 | 103.833 | 56.2415
Spike-Recovery |  |  |  |  | C-peptide | 5 ng/ml | Non-detectable |  |  | 158.164 | 159.85 | 4.2273 | 1.8872 | 2.6445 | [15 empty] | 100 | 107.379 | 115.78 | 53.6895
[8 empty] | M-34 | 32' | 121.223 | [19 empty] | Glicentin
Plasma |  | Glucagon | % Recovery | [6 empty] | 116.934 | [18 empty] | Normal assay | 0 | 111.481 | 85.325 | 55.7405
pool |  | pg/ml |  |  | KO Mouse plasma |  |  |  |  | 126.702 | [19 empty] | 0.097 | 116.559 | 84.091 | 58.2795
Pool-1 | x/2 sample | 79.55 | [7 empty] | 123.612 | [19 empty] | 0.195 | 106.191 | 84.246 | 53.0955
| x/2 QC2 | 81.585 |  |  | Vial-1 | K/O | Non-detectable |  |  | 118.263 | 121.3468 | 3.9626 | 1.769 | 3.2655 | [15 empty] | 0.39 | 116.569 | 84.564 | 58.2845
| x/2 sample+x/2 QC2 | 152.372 | 94% |  | Vial-2 | K/O | Non-detectable | M-34 | 34' | 239.442 | [19 empty] | 0.781 | 116.162 | 80.765 | 58.081
Pool-2 | x/2 sample | 94.835 | [7 empty] | 235.967 | [19 empty] | 1.562 | 113.258 | 80.243 | 56.629
| x/2 QC2 | 83.881 | [7 empty] | 229.623 | [19 empty] | 3.125 | 119.811 | 83.735 | 59.9055
| x/2 sample+x/2 QC2 | 174.057 | 97% |  | Charcoal-stripped: |  |  |  |  | 222.458 | [19 empty] | 6.25 | 118.016 | 83.777 | 59.008
Pool-3 | x/2 sample | 86.671 | [7 empty] | 223.752 | 230.2484 | 7.4248 | 3.3146 | 3.2247 | [15 empty] | 12.5 | 115.285 | 82.662 | 57.6425
| x/2 QC2 | 90.846 |  |  |  | Unstripped | Stripped | M-34 | 36' | 184.157 | [19 empty] | 25 | 116.007 | 82.901 | 58.0035
| x/2 sample+x/2 QC2 | 155.02 | 87% |  | Sample | Glucagon | Glucagon |  |  | 196.656 | [19 empty] | 50 | 127.326 | 83.675 | 63.663
Pool-4 | x/2 sample | 90.769 |  |  |  | pg/ml | pg/ml |  |  | 181.118 | [19 empty] | 100 | 115.827 | 80.314 | 57.9135
| x/2 QC2 | 98.03 |  |  | M-09 , vials 32 + 34 pool | 176.82 | 95.75 |  |  | 189.718 |  |  |  |  | Standard pg/ml | BackCalcConc | Wells | OD | AvgOD | SD | CV | Standard pg/ml | BackCalcConc | Wells | OD | AvgOD | SD | CV
| x/2 sample+x/2 QC2 | 170.116 | 90% |  | M-34, vials 32+34 pool | 143.65 | 55.31 |  |  | 195.14 | 189.3578 | 6.7411 | 3.0094 | 3.56 | 0 | Range? | A1 | 0.099 | 0.096 | 0.004 | 4.1 | 0 | Range? | A1 | 0.06 | 0.073 | 0.019 | 26.1
Pool-5 | x/2 sample | 88.292 |  |  | Blank buffer |  | 1.52 | [8 empty] | Range? | A2 | 0.093 |  |  |  |  | Range? | A2 | 0.087 | [6 empty] | Mercodia protocol info
| x/2 QC2 | 84.29 | [12 empty] | 7 | 1.157 | B1 | 0.137 | 0.136 | 0.002 | 1.3 | 4.8 | Range? | B1 | 0.107 | 0.108 | 0.001 | 1.2 |  |  |  | OXM: Upto 1.33 ng/ml shows < 4.4% ng/ml cross-reactivity.
| x/2 sample+x/2 QC2 | 188.466 | 109% | [12 empty] | Range? | B2 | 0.135 |  |  |  |  | Range? | B2 | 0.109 | [6 empty] | Glicentin: Up to 4.680 ng/ml shows < 0.8% cross-reractivity
[15 empty] | 24 | 36.679 | C1 | 0.285 | 0.276 | 0.014 | 4.9 | 10 | 33.736 | C1 | 0.155 | 0.144 | 0.016 | 11.1
[16 empty] | 33.005 | C2 | 0.266 |  |  |  |  | Range? | C2 | 0.132
[15 empty] | 50 | 52.848 | D1 | 0.377 | 0.379 | 0.004 | 1 | 30 | 71.757 | D1 | 0.289 | 0.278 | 0.016 | 5.9
[16 empty] | 53.775 | D2 | 0.382 |  |  |  |  | 68.748 | D2 | 0.266
[15 empty] | 97 | 99.019 | E1 | 0.68 | 0.672 | 0.011 | 1.7 | 99.4 | 98.956 | E1 | 0.697 | 0.704 | 0.01 | 1.4
[16 empty] | 96.816 | E2 | 0.665 |  |  |  |  | 99.551 | E2 | 0.711
[15 empty] | 178 | 171.528 | F1 | 1.248 | 1.268 | 0.029 | 2.3 | 141 | 140.863 | F1 | 2.596 | 2.606 | 0.015 | 0.6
[16 empty] | 176.313 | F2 | 1.289 |  |  |  |  | 141.153 | F2 | 2.617
[15 empty] | 314 | 321.717 | G1 | 2.655 | 2.588 | 0.094 | 3.6
[16 empty] | 308.528 | G2 | 2.521